## Slide 1: Enabling photodetection for quantum sensing
Vladislav Serafimov

## Slide 2: Agenda
Background
Methodology and planning
Implementation
Test setup and performance metrics
Results
Conclusion
Demo (possibly)
Assignment
2

## Slide 3: Nitrogen Vacancy (NV) centers
Image credit: https://doi.org/10.3390/jmmp1010006
Notes: Say NV centers are photoluminescent imperfections in diamonds, which means they emit light.

## Slide 4: Quantum protocols
CW-ODMR
T1 measurements
P-ODMR
  Rabi oscillations
  Hahn echo
  Ramsey interferometry
Image credit: 10.35848/1347-4065/abc399
Image credit: https://doi.org/10.1119/10.0001905
Notes: Explain how CW-ODMR and T1 relate to photodetection (pulsed vs CW). Mention Rabi is the future goal of the setup

## Slide 5: Quantum sensing setup
Notes: Say project was originally supposed to be mostly about integrating the blue blocks with the lock-in amplifier, but after the midterm company visit the project has been mostly about the photodetector

## Slide 6: Methodology
1. Must have
Hardware platform for photodetection
Software for signal processing and visualization
Setup integration
2. Should have
Tests with different quantum protocols
Tests with different diamond samples
Notes: Used V-Model. Say MoSCoW goals are still ongoing because the setup hasn’t been fully integrated yet

## Slide 7
Photodetector design

## Slide 8: Transimpedance Amplifier (TIA)
Current to voltage conversion
Gain-setting resistor R1
Compensation capacitor C1
Photodiode D1
Notes: Explain the importance of R1 and C1

## Slide 9: Photodiode biasing
Photoconductive mode
  High bandwidth
  High photocurrent
  High dark current
Photovoltaic mode
  Medium bandwidth
  Low photocurrent
  Low to no dark current
Notes: Explain why photovoltaic mode was chosen

## Slide 10: Post amplification
Notes: Say this was the original topology that was provided and several others were considered (e.g. inverting with input resistor/capacitor), but there was not enough literature on them

## Slide 11: TIA bandwidth increase
Notes: Explain that C1 reduces the bandwidth and the bootstrap buffer reduces the need for C1, thus increasing the bandwidth

## Slide 12
Photodetector simulations
Notes: Explain graphs

## Slide 13: CW-ODMR TIA

## Slide 14: T1 TIA

## Slide 15: CW-ODMR detector

## Slide 16: T1 detector

## Slide 17: Comparison
Version | TIA fc (kHz) | TIA gain (dB) | Post amplifier | Noise at 1Hz (µV/√Hz)
T1 | 724,69 | 120 | Non-inverting | 17,6
CW-ODMR | 21,167 | 140 | Non-inverting, cascaded | 4,8
Notes: Compare T1 and CW-ODMR detectors

## Slide 18: Integration test
Pulse laser at different frequencies
Adjust laser for optimal intensity
Compare detector output to square wave

## Slide 20: Filtering test
Place laser like in a compact setup
Pulse laser at a fixed frequency
Change number of filters
Observe effect of filtering

## Slide 21
1 filter
No filter, low intensity
2 filters

## Slide 22: Conclusion
CW-ODMR detector works as intended
Bandwidth is insufficient for Rabi oscillations
Setup needs good filtering

## Slide 23: Recommendations
Consider replacing diode
Increase bandwidth to detect Rabi oscillations
Filter out the laser better
Notes: Replacing diode with another PIN diode, which is less sensitive to green, will result in less laser light present in the readings. Increasing the bandwidth can be done by changing