## Slide 1: Enabling photodetection for quantum sensing
Vladislav Serafimov

## Slide 2: Nitrogen Vacancy (NV) centers
Image credit: https://doi.org/10.3390/jmmp1010006
Notes: Say NV centers are photoluminescent imperfections in diamonds, which means they emit light.

## Slide 3: Quantum protocols
CW-ODMR
T1 measurements
P-ODMR
  Rabi oscillations
  Hahn echo
  Ramsey interferometry
Image credit: 10.35848/1347-4065/abc399
Image credit: https://doi.org/10.1119/10.0001905
Notes: Explain how CW-ODMR and T1 relate to photodetection (pulsed vs CW). Mention Rabi is the future goal of the setup

## Slide 4: Quantum sensing setup
Notes: Say project was originally supposed to be mostly about integrating the blue blocks with the lock-in amplifier, but after the midterm company visit the project has been mostly about the photodetector

## Slide 5
Photodetector design

## Slide 6: Transimpedance Amplifier (TIA)
Current to voltage conversion
Photodiode D1
Gain-setting resistor R1
Compensation capacitor C1
Notes: Explain the importance of R1 and C1

## Slide 7: Photodiode biasing
Photoconductive (PC) mode
  High bandwidth
  High photocurrent
  High dark current
Photovoltaic (PV) mode
  Medium bandwidth
  Low photocurrent
  Low to no dark current
PC
PV
Notes: Explain why photovoltaic mode was chosen

## Slide 8: Post amplification
Notes: Say this was the original topology that was provided and several others were considered (e.g. inverting with input resistor/capacitor), but there was not enough literature on them

## Slide 9: TIA bandwidth increase
Notes: Explain that C1 reduces the bandwidth and the bootstrap buffer reduces the need for C1, thus increasing the bandwidth

## Slide 10
Photodetector simulations
Notes: Explain graphs

## Slide 11: CW-ODMR TIA

## Slide 12: T1 TIA

## Slide 13: CW-ODMR detector

## Slide 14: T1 detector

## Slide 15: Comparison
Version | TIA fc (kHz) | TIA gain (dB) | Post amplifier | Noise at 1Hz (µV/√Hz)
T1 | 724,69 | 120 | Non-inverting, cascaded | 17,6
CW-ODMR | 21,167 | 140 | Non-inverting | 4,8
Notes: Compare T1 and CW-ODMR detectors

## Slide 16: Integration test
Pulse laser at different frequencies
Adjust laser for optimal intensity
Compare detector output to square wave

## Slide 18: Filtering test
Place laser like in a compact setup
Pulse laser at a fixed frequency
Change number of filters
Observe effect of filtering

## Slide 19
1 filter
No filter, low intensity
2 filters

## Slide 20: Conclusion
CW-ODMR detector works as intended
Bandwidth is insufficient for Rabi oscillations
Setup needs good filtering